## Slide 1: TREAT STUDY AND GAC DISPOSITION
Briefing for the Buckman Direct Diversion Board June 7, 2018
James P. Bearzi
Senior Environmental Geologist
Glorieta Geoscience, Inc.
Santa Fe, New Mexico

## Slide 2: What Are The Main Issues?
TREAT = The Removal Efficiency & Assessment of Treatments
For both TREAT and Granulated Activated Carbon (GAC)
  Quality Assurance/Quality Control (QA/QC)
  Sampling and Analysis
  What do the data tell us now? What are the implications? Potential sources?
  What do we do next?

## Slide 3: Expert Panel
Expert Panel
  James P. Bearzi, Glorieta Geoscience, Inc. (Lead)
  Bill Schneider, City of Santa Fe
  Alex Puglisi, City of Santa Fe
  Daniela Bowman, BDD
  Jerry Schoeppner, Santa Fe County
  Kerry Howe, UNM
Work overseen by Rick Carpenter and Charles Vokes

## Slide 4: What Do the TREAT Results Tell Us?
Safe water has been and continues to be delivered to customers
Important questions raised about chemicals detected by the analytical laboratories
  Are the results “real?”
  What are potential sources?
  What sampling should be done to confirm previous results?
  What sampling should be done on a routine basis going forward?

## Slide 5: TREAT Study Data
QC complete; some errors found and corrected
QA depends on objectives of study
TREAT study showed BDD finished water is below MCLs, but had measurable (but necessarily quantifiable) concentrations of some chemicals
Sampling issues and procedures
Analysis challenges (including changing analytical laboratories between TREAT studies 1-2 and 3-4)

## Slide 6: TREAT Study Data (Plutonium Illustration)
Appropriately balance data quality and detection limits.
Resample with rigorous QA procedures in place.
Gross Alpha MCL = 15 pCi/l

## Slide 7: TREAT Study Data (Zinc Illustration)
Dissolved > Totals (in some cases)
Concentrations may increase with travel through the treatment works (in some cases)
Laboratory selection crucial

## Slide 8: Potential Sources
Radionuclides
  Raw Water (Rio Grande; LANL)
  Background
  Return flows within Plant
  Laboratory or sampling error
Metals (trends)
  Normal Plant operation (including return flows)
  Total flow rate through process units
  pH changes
  Treatment products
  Laboratory or sampling error
Pharmaceuticals and other organics
  Upriver point and non-point sources
  Laboratory or sampling error

## Slide 9: GAC and Source
Evaluate GAC data – same issues as TREAT
Are chemicals found in TREAT in new GAC?
Are they being concentrated in GAC? Or desorbed?
GAC age/removal efficiencies for organics and metals
Is additional or revised sampling required?
What are potential contaminant sources?
What are appropriate disposal pathways?
What are the potential regulatory issues?

## Slide 10: What Do We Do Next?
TREAT 5 Preparation (Fall 2018)
  Need for robust study design and implementation
  CM – Conceptual Model
  DQOs – Data Quality Objectives
  QAPP – Quality Assurance Project Plan
  SAP – Sampling and Analysis Plan
  QA/QC – Quality Assurance/Quality Control
Utilize existing data the Plant has (pH, turbidity, time) and assess possible correlations with TREAT results
Resolve GAC issues

## Slide 11: Take Home Message
Safe water continues to be delivered to customers
Need for TREAT 5 with robust study design
  Study is reproducible with clear data quality objectives
  Confirms or refutes preliminary results (TREATs 1-4)
Analytical laboratory selection
Assess disposition of GAC
Expert Panel provides technical support to BDD management and staff